# Weekly Fish and Water Operations Outlook

2/25/2025 – 3/3/2025

## Water Project Operational Intent for Week

The D-1641 standards for CVP/SWP operations in February and March include: (1) Delta Outflow per X2 requirements, and 2) E/I ratio no greater than 0.35.

The 2025 OMR management season has begun, so the 14-day averaged OMR index cannot be more negative than –5,000 cfs according to both the Federal Biological Opinions and State ITP unless a “storm flex” option to operate to an OMR index of no more negative than –6,250 cfs is approved by WOMT.

## Biological Context

OMRI shall not be more negative than –5,000 cfs on a 14-day averaged basis during the OMR Management Season unless a “storm flex” option to operate to an OMRI no more negative than –6,250 cfs is approved by WOMT. No other restrictions on operations are currently “active”.

## Forecasted Weather

After a weak system passes through on Monday bringing chances of rain and mountain snow, dry weather and above normal temperatures dominates the week with appreciable precipitation chances returning by the weekend.

## Tables

Table 1: Anticipated weekly operational ranges by tributary. Environmental and fish conditions are updated by respective watershed groups at varying intervals that may not coincide with the weekly range of Water Operations shown.

| Tributary/Division | Anticipated Weekly Ranges | Related Environmental and Fish Conditions |
| --- | --- | --- |
| Clear Creek | * Current Release: 300 cfs * Anticipated Weekly Range of Releases: 300 cfs. | * Fall-run Chinook Salmon eggs hatching, fry are emerging, rearing, and emigrating downstream. * Late fall-run Chinook Salmon adults are spawning and their eggs are incubating. * Spring-run Chinook Salmon juveniles are rearing and emigrating. * *O. mykiss* adults are migrating and spawning. * (Updated 2/11/2025) |
| Sacramento River | * Shasta Storage: 3.503 MAF * Current Release: 11,000 cfs * Anticipated Weekly Range of Releases: 6,000 cfs to 11,000 cfs. | * Spring-run Chinook Salmon fry have all emerged and are migrating downstream. * Fall-run adults have completed spawning, fall-run fry downstream passage counts are increasing daily, although fry also remain in gravel * Late-fall adults are spawning and eggs are in gravel * Winter-run fry are still migrating past RBDD in relatively low numbers. * (Updated 1/28/2025) |
| Feather River | * Oroville Storage: 2.873 MAF * Current Release: 13,000 cfs * Anticipated Weekly Range of Releases: 5,000 cfs to 13,000 cfs * Daily temperature maximum: 55 degrees F at Fish Hatchery | * Spring-run Chinook Salmon juveniles are emerging and are migrating downstream. * Fall-run Chinook Salmon juveniles are emerging and migrating downstream. * Adult *O. mykiss* present and spawning.. * (Updated 02/11/2025) |
| American River | * Folsom Storage: 663 TAF * Current Release: 7,200 cfs * Anticipated Weekly Range of Releases: 5,000 cfs to 7,200 cfs | * Eggs are in gravel and incubating. * Fry are beginning to emerge and migrate downstream. * (Updated 2/11/2025) |
| Stanislaus River | * New Melones Storage: 1.926 MAF * Current Release: 200 cfs * Anticipated Range of Weekly Releases: 200 cfs. | * Juvenile and adult *O. mykiss* are present. * Fall-run Chinook Salmon eggs are in gravel and incubating. Juveniles are emerging and migrating downstream. * (Updated 2/11/2025) |
| Delta | * Freeport: 50,000 to 71,000 cfs * Vernalis: 1,300 to 1,700 cfs * Delta Outflow index: 40,000 to 100,000 cfs * Combined Exports: 5,700 to 6,400 cfs * JPP: 3,400 cfs to 4,200 cfs * CCF: 1,500 cfs to 2,200 cfs * Expected Daily OMR Index Values: -4,900 to -5,100 cfs * DCC Gates: Closed on 11/18. * X2 = < 56 km * Tides: Transitioning from Neap to Spring; New Moon on 2/27 | * Yearling and YOY Chinook Salmon are migrating into the Delta. * In the last 4 weeks adult Delta smelt have been detected in Cache Slough, the SDWSC, the lower Sacramento and San Joaquin rivers, Suisun Marsh, and Suisun Bay. Two marked adult Delta smelt were detected in salvage at TFCF on 2/13/25, bringing cumulative salvage to 17. * A total of 124,946 individual adult Delta smelt were released in WY2025. So far, there have been 71 confirmed detections of cultured Delta smelt. * Larval longfin smelt have been detected in the Central and South Delta (6 larval longfin smelt at stations 809 and 812 during SLS 4), the Sacramento River, Suisun Marsh, Suisun Bay, the Confluence, the Napa River, Carquinez Strait, and San Pablo Bay. * Juvenile longfin smelt have been detected in Suisun Marsh, Suisun Bay, Grizzly Bay, the Lower Sacramento River, and at Chipps Island. * Adult longfin smelt have been detected in the Napa River, Suisun Marsh and Bay, Central and South Delta, Sacramento River, and Chipps Island. Adult LFS have also been detected in salvage at TFCF. * (Updated 2/24/2025) |

Table 2a-b: WY 2025 relevant Fish and Environmental Criteria and Status in 2019 Reclamation LTO Action Cumulative loss for the duration of 2019 Biological Opinion began upon signature of ROD, 2/19/2020.

Table 2a: WY 2025 Salmonid Current Loss and Delta Smelt Abiotic Conditions. Additional Real-Time OMR Restrictions and Performance Objectives (4.10.5.10.2, 4.10.5.10.3) and Onset of OMR Management (4.10.5.10.1). Genetic identification of salmon is not used in calculating loss, but results are included in the Assessment as they become available.

| Species/run | Threshold | Current Status | Weekly Trend | Updated |
| --- | --- | --- | --- | --- |
| Green sturgeon | WY 2025 salvage = 74 | WY 2025 salvage = (0%) | No change expected | 2/24/2025 |
| Natural winter-run Chinook Salmon | See Table 3a | See Table 3a | See Table 3a | 2/24/2025 |
| Natural Steelhead | 100% threshold - 3000 | WY 2025 loss = 171.31 (5.7% of threshold) as of 2/23/2025 | Salvage increasing | 2/24/2025 |
| Steelhead Weekly Loss Threshold | 7-day rolling sum of steelhead salvage exceeds loss of 120 fish | No exceedances – 7 day rolling sum as of 2/23/25 = **56** | Salvage increasing | 2/24/2025 |
| Sacramento River Hatchery winter-run Chinook salmon | See Table 3a | See Table 3a | See Table 3a | 2/24/2025 |
| Battle Creek  Hatchery winter-run Chinook salmon | See Table 3a | See Table 3a | See Table 3a | 2/24/2025 |
| Proposed Action Hatchery yearling spring-run Chinook salmon surrogates | See Table 3a | See Table 3a | See Table 3a | 2/24/2025 |
| Delta Smelt | See Table 3b | See Table 3b | See Table 3b | 1/06/2025 |
| Longfin Smelt | See Table 3c | See Table 3c | See Table 3c | 1/06/2025 |

Table 3a-d: Relevant Water Year 2025 Fish Criteria and Status for Listed Fish under the SWP Long-Term Incidental Take Permit.

Table 3a: Chinook Salmon

\* No draft WR JPE for WY 2025. Final JPE letter is expected in January. A JPE surrogate is currently being used for COA 8.4.4 until the final JPE is issued.

| Action | Timeframe | Current Action Status | Threshold(s) | Current Relevant Data | Weekly Trend | Last  Updated | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Onset of OMR Management (8.3) | Jan. 1 - Jun. 30 | **In effect** | Begins January 1 or earlier if COA 8.3.1, COA 8.3.2, or COA 8.3.3 are in effect (see Table 3b) | N/A | N/A | 2/24/25 | N/A |
| Winter-run Annual Loss  (8.4.3) | July 1 - Jun. 30 | **In effect** | -Natural-origin Winter-run Loss Threshold: 0.5% of JPE  -Hatchery-origin Winter-run Loss Threshold: 0.12% of JPE | Confirmed Genetic WR Annual Loss = 5.14 | Likely to observe salvage due to seasonal timing | 2/24/25 | Salvage of LAD unclipped older juvenile during the last week occurred at both fish facilities. |
| Natural-origin Winter-run Early Season Weekly Loss Thresholds  (8.2.1) | Nov. 1- Dec. 31 | Not in Effect | N/A | N/A | N/A | 2/4/25 | N/A |
| Natural-origin Winter-run Weekly Loss (8.4.4) | Jan 1 – June 30 | **In effect** | Thresholds based on Table 4, Column E of 2024 SWP ITP:  [Annual Loss Threshold (based on JPE surrogate) x 50% of Annual Loss Threshold x Winter-run in Delta (based on Column E)] | 2/19/25-2/25/25 Threshold:  36.74  Upcoming:  2/26/25-3/4/25 Threshold:  31.65 | Based on salvage thru 2/24  7-day loss: 0  Total loss of 7 day rolling sum (includes genetically confirmed): 0 | 2/24/25 | Loss of genetic natural origin winter-run chinook this week was 0  No LAD older juveniles are pending analysis. |
| Spring-run Protection Action and Surrogate Annual Loss  (8.4.5) | Natural-origin: Oct. – June 30  Hatchery-origin: Nov. 1 – June 30 | Natural- origin~~:~~ In effect  Hatchery-origin:  In effect | Group 1**: 1,747.23** (0.25% of 698,892 fish released)  Group 2:  **193.39**  (0.25% of 77,355 fish released)  Group 3:  **186.10**  (0.25% of 74,725) | Current Loss for Group #1 through 2/9/25: 994.05  (56.89**%** of the loss threshold)  Current Loss for Group #2 through 2/9/25:  72.52  (**37.50**% of the loss threshold)  Current Loss for Group #3 through 2/9/25: 33.8 (18.16**%** of the loss threshold) | Likely to see more salvage | Group 1, 2 & 3 updated 2/2425 | Natural- origin Chinook Salmon spring-run salmon have been salvaged yet in WY 2025. |

Table 3b: Delta Smelt

| Action | Timeframe | Current Action Status | Threshold(s) | Current Relevant Data | Weekly Trend | Last Updated | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- |
| First Flush Action (8.3.1) | Dec. 1 – last day of February | Off ramped  Action triggered on Dec. 16, implemented from Dec. 19 through Jan 1, 2025 | - three-day Freeport (FPT) daily flow running avg>= 25,000 AND  [three-day Freeport turbidity running avg >=50 NTU OR Smelt Monitoring Team recommendation] | FPT 3-day avg.  Flow = Not relevant  Turbidity = Not relevant | N/A | 1/6/2025 |  |
| Adult Delta Smelt Entrainment Protection (“Turbidity Bridge Avoidance”) (8.3.2) | After IEWPP or Dec. 20 until 3-day average  temperatures at Jersey Point (SJJ) or Rio Vista (RVB) exceed 12 °C (53.6 °F) | Not active; offramped as of 2/25/25 | Occurs after the Integrated Early Winter Pulse protection or December 20 (whichever comes first) until 3-day average temperature offramp at Jersey Point (SJJ) or Rio Vista (RVB) > 12 °C (53.6 °F)  -OBI, OSJ, and HOL turbidity>12 FNU  -Vernalis flow >10,000 cfs (temporary offramp); <8,000 cfs (reinstated) | OSJ Turbidity = 13.63 NTU  HOL Turbidity = 8.11 FNU  OBI Turbidity = 7.83 FNU  3-d SJJ temp = 11.80 °C  3-d RVB temp = 12.11 °C  Vernalis Flow = 1,300 to 1,700 cfs |  | 2/25/25 |  |
| Larval and Juvenile Delta smelt Protection (8.4.1) | After Adult Delta smelt Entrainment Protection ends | Active as of 2/25/25.  Temporarily off-ramped on 2/25/25 based on RV flows | SLS/20mm Secchi depth for 12 south delta stations <= 1m  -Rio Vista flows >55,0000 cfs or Vernalis flows >8,000 cfs (temporary offramp); <40,000 cfs (Rio Vista) or <5,000 (Vernalis) reinstated | Secchi depth = 92 cm  SLS Survey 5  Rio Vista flows = 79,000 cfs  Vernalis flows = 1,619 cfs | Flows decreasing | 2/25/25 |  |

Table 3c: Longfin Smelt

| Action | Timeframe | Current Action Status | Threshold(s) | Current Relevant Data | Weekly Trend | Last Updated | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Adult LFS Protection (8.3.3) | Dec. 1 - end of February | Active; not triggered | -Cum. salvage > (Age 1+ LFS Index/20) +1 = 181 fish | Cum LFS salvage greater than 60mm = 8 | No change expected | 1/7/25 |  |
| Larval and Juvenile Longfin Smelt Entrainment Protection (8.4.2) | Jan. 1 – Jun. 30 | Active; not triggered.  Temporarily off-ramped on 1/29 based on RV flows.   Triggered on 1/19 and 1/28. Implemented 1/20-1/26 | -7-day average QWEST < +1,500 cfs, AND LFS larvae or juveniles in most recent SLS or 20 mm survey at 809 & 812 > 50; OR cumulative salvage > 50 or 75% avg annual salvage 2009-present  -Rio Vista flows >55,0000 cfs or Vernalis flows >8,000 cfs (temporary offramp); <40,000 cfs (Rio Vista) or <5,000 (Vernalis) reinstated | 7-day average QWEST =  +7,900 cfs  Larval/juvenile (>20mm) 809 + 812 catch (SLS 5) = 1  Cumulative juvenile (>20mm) salvage = 0  Rio Vista current Flow = 79,000 cfs  Vernalis current Flow = 1,619 cfs | Flows decreasing | 2/25/25 |  |

Table 3d: OMR

| Action | Timeframe | Current Action Status | Threshold(s) | Current Relevant Data | Weekly Trend | Last Updated | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- |
| OMR Storm Flex (8.5) | Start of OMR – Onramp of Larval and Juvenile DS Protection Action (8.4.1) or last day of February (whichever occurs first) | Not Active as of 2/25/25 | -Delta is in excess  -QWEST is > +1,500 cfs  -X2 is < 81 km  - Daily average turbidity at OSJ, HOL, and OBI are <12 FNU  -Higher level of outflow available for diversion due to storm flows  -Measurable amount of precipitation has occurred  -None of COA’s are controlling operations (8.2.1, 8.3.2, 8.3.3,, 8.4.2, 8.4.3, 8.4.4, 8.4.5, 8.4.7)  -Cumulative loss at CVP and SWP of yearling CNFH LFR Chinook salmon (as yearling CHNSR surrogates) is < 0.5% with any of the release groups | QWEST=Not relevant  X2 = Not relevant  Turbidity = Not relevant  No relevant salmon loss threshold exceedances (see Tables 2a & 3a)  No COA’s are controlling operations |  | 2/25/25 |  |
| End of OMR  Management (8.6) | Jun. 1 – Jun. 30 | Not in effect | Smelt:  -Daily mean water temperature at Clifton Court Forebay (CLC) is > or equal to 25 C for 3 consecutive days  Salmonids:  -Current daily average water temperature is > 22.2 C at Mossdale and Prisoners Point for 7 days (can be non-consecutive). | N/A | N/A | 11/12/24 | N/A |

Table 4: Fish monitoring gear efficiency and disruptions. Status Categories: [1] Active (ongoing sampling), [2] Partial Interruption (some sampling interruptions), [3] Interrupted (sampling fully suspended), [4] Not Active (sampling not scheduled)

| Monitoring survey | Region | Notes (as of 2/25/2025) | Status |
| --- | --- | --- | --- |
| SWP regular counts, CWT reading | Delta | Active | 1 |
| SWP larval sampling | Delta | Not Active | 4 |
| CVP regular counts, CWT reading | Delta | Active | 1 |
| CVP larval sampling | Delta | Not Active | 4 |
| Smelt Larval Survey | Delta | Active | 1 |
| LES | Delta | Active | 1 |
| 20mm Survey | Delta | Not Active | 4 |
| Fall Mid-water Trawl | Delta | Not Active | 4 |
| Summer Townet Survey | Delta | Not Active | 4 |
| Bay Study | Delta | Active | 1 |
| DJFMP- Chipps and Sacramento Trawls | Delta | Active | 1 |
| DJFMP- Seines | Delta | Partially Active | 2 |
| EDSM | Delta | Not Active | 4 |
| EMP | Delta | Active | 1 |
| Mossdale | Delta | Active (CDFW) | 1 |
| USGS Flow monitoring | Delta | Active | 1 |
| Red Bluff Diversion Dam Rotary Screw Trap (RST) | Sacramento River | Active | 1 |
| Knights Landing RST | Sacramento River | Active | 1 |
| Tisdale RST | Sacramento River | Active | 4 |
| GCID RST | Sacramento River | Not Active | 4 |
| Mill Creek RST | Mill Creek | Active | 1 |
| Deer Creek RST | Deer Creek | Inactive | 4 |
| Yuba River (Hallwood) RST | Yuba River | Active | 4 |
| Butte Creek Carcass Surveys | Butte Creek | Not Active | 4 |
| Butte Creek RST | Butte Creek | Active | 1 |
| Redd dewatering and stranding surveys | Sacramento River | Active | 1 |
| Sacramento Carcass and Redd Surveys (late fall-run Chinook Salmon) | Sacramento River | Active | 1 |
| Lower Sacramento RST | Sacramento River | Active | 1 |
| Feather River (upper DWR) RST | Sacramento River | Active | 1 |
| Feather River (lower CDFW) RST | Sacramento River | Active | 1 |
| Feather River Carcass Survey (fall-run Chinook Salmon) | Sacramento River | Active | 1 |
| SJRRP CDFW Field Monitoring | San Joaquin River | Active | 1 |
| SJRRP USFWS and USBR Field Monitoring | San Joaquin River | Active | 1 |
| Stanislaus Fish Weir | San Joaquin River | Active | 1 |
| Stanislaus River Carcass Survey (steelhead) | San Joaquin River | Active | 1 |
| American River Carcass Survey | Sacramento River | Not Active | 4 |

Preference (i.e., a y-intercept of 0.5)